## Slide 1: Gage R&R
Estimating measurement components
Gage capability and acceptability measures
Prof. Tom Kuczek, Purdue Univ.

## Slide 2: Terms and Definitions
•Repeatability refers to the measurement variation obtained when one person repeatedly measures the same item with the same gage.
•Reproducibility refers to the variation due to different operators using the same gage measuring the same item.

## Slide 3: Estimated Common Cause
Our estimate of Common Cause Variation, which is the variance of the actual product measurement, is actually the sum of three components:
• The true product variation.
• Variation due to different operators (reproducibility).
• Variance of measurement equipment error (repeatability).

## Slide 4: Measurement Component Analysis

## Slide 5: Notation

## Slide 6: Gage R&R: Designed Data Collection
In order to estimate these components of variation, we do a standard Gage R&R study. All such studies follow the following format:
We select a fixed number of parts.
We select a fixed number of operators.
Each operator measures each of the parts a fixed number of times.

## Slide 7: Layout of Typical Gage R&R Study

## Slide 8: Analysis of Gage R&R Study Data
There are two typical Statistical tools for the analysis of the data from Gage R&R studies:
The first, and most widely taught technique, is the analysis of average Ranges.
Ranges are obtained from successive replications to estimate error variance.
Ranges from averages between different operators for the same part are used to estimate operator variation.

## Slide 9: Analysis of Variance for Gage R&R
The Analysis of Variance (ANOVA) can also be used to analyze Gage R&R studies.
In ANOVA terminology, most Gage R&R studies have an ANOVA type data structure.
A variance component analysis can easily be done in most software packages.
The individual variance components provide estimates of error, operator and “true” product variance.

## Slide 10: Typical example

## Slide 11: Variance components of Model 1

## Slide 12: ANOVA of previous example in JMP

## Slide 13: Variance components from ANOVA

## Slide 14: Variance components
Part has variance
Operator has variance
Repetition within Part Operator combination has variance

## Slide 15: Variance component estimates from Analysis of Variance

## Slide 16: Variance Component model 2
This includes an interaction term. In practice, most Analyses use model 1.

## Slide 17: Model 2 variance components
The variance components will include a term for the interaction of operator and part.
For Model 2, Reproducibility will be
Reproducibility=

## Slide 18: Running model 2 in JMP

## Slide 19: Variance component estimates for Model 2

## Slide 20: Model 1 vs. Model 2
An F-test (not shown) shows that the Operator*Part term is not significant at alpha =.10 (authors criteria), then we will use the results of Model 1.
Operator*Part is rarely significant. As a result many people leave it out in practice.

## Slide 21: Conclusions from Gage R&R
Part has the greatest variability
Operator and repetition are negligible
Invest in the Process
The Measurement system here is not an issue in the sense of Reproducibility and Repeatability
Concentrate on the Process, put on Target with Minimum Variation

## Slide 22: Gage Capability

## Slide 23: Gage Acceptability (usually specified by contract as a numerical value)

## Slide 24: Precision to Tolerance ratio
The Gage Precision to Tolerance ratio is generally defined as
P/T =
Where for our example
P/T < .1 is generally considered acceptable by the author.